National Institute of Plant Genome Research

Aruna Asaf Ali Marg, Near ICSSR, JNU Campus, New Delhi – 110067

Phone: 26735161, 26735138 Fax: 26741658

la[;k/,u-vkbZ-ih-th-vkj/7/42(E)/Vol.III/  				 		   Dated: 27.06.2013

##### NOTICE INVITING QUOTATIONS

Sealed item rate quotations are invited on behalf of the Director, NIPGR, New Delhi, from approved & eligible contractors in respect of the following work, so as to reach his office on or before  12.07.2013 up to 3.00 P.M.  The quotation shall be opened on the same day at 3.30 P.M. in presence of the intending quotationers.

##### SCHEDULE OF QUANTITY

Name of Work:	A.M.C. of split / window type Air-conditioning units & water coolers installed at NIPGR Campus, New Delhi, during the year 2013 – 2014.

| Sl. No. | Description | Qty. | UNIT | Rate (in `) | Amount (in `) |
| --- | --- | --- | --- | --- | --- |
|  | As per enclosed Schedule of Quantity and Terms & Conditions |  |  |  |  |

Encl.:	1. Schedule of quantity.

2. Terms & conditions.

Administrative Officer

NIPGR

M/s ____________________________

_______________________________

_______________________________

__________________________________

Seal & Signature of Contractor

| SCHEDULE OF QUANTITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of work : AMC of Split/window type air conditioning units & water Coolers installed at NIPGR Campus, New delhi during the year 2013-2014 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Description |  | Unit | Qty. | Rates per month | Amount per month |  |  | No. of months |  | Amount per year |  |  |  |  |
|  | SPLIT A.C. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Annual Maintenance Contract for servicing , repair & running maintenance of following 1.0 TR/ 1.5 TR, 2.0 T.R capacity Wall Split type / Window type A/C / Split Cassette type units of different makes comprising of floor / wall mounted condensing units including maintenance of Refrigerant piping work and all the scope of work specified below complete as required including auto Electronic Controller/ Voltage stabilizer w.e.f 01.08.2013 to 31.07.2014 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A | SPLIT TYPE A/C UNIT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 1.0 TR |  | each | 19 |  |  |  |  | 12 |  |  |  |  |  |  |
| 2 | 1.5 TR |  | each | 17 |  |  |  |  | 12 |  |  |  |  |  |  |
| 3 | 2.0 TR |  | each | 32 |  |  |  |  | 12 |  |  |  |  |  |  |
| B | WINDOW TYPE A/C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 1.5 TR |  | each | 7 |  |  |  |  | 12 |  |  |  |  |  |  |
| C | SPLIT CASSETE A/C UNIT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | 2.0 TR |  | each | 2 |  |  |  |  | 12 |  |  |  |  |  |  |
| D | WATER COOLER |  | each | 7 |  |  |  |  | 12 |  |  |  |  |  |  |
|  |  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
| B. | LIST OF SPARES ( if & when required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S. No | Description |  |  | unit | Qnt | Rate |  | Acceptable Make |  |  |  |  |  |  |  |
| 1 | Compressor for Split A/C 1.0 TR |  |  | No | 1 |  |  | Kirloskar/ Hitachi/ Voltas/ Blue Star |  |  |  |  |  |  |  |
| 2 | Compressor for Split A/C 1.5 TR |  |  | No | 1 |  |  | -- do -- |  |  |  |  |  |  |  |
| 3 | Compressor for Split A/C 2.0 TR |  |  | No | 1 |  |  | -- do -- |  |  |  |  |  |  |  |
| 4 | Compressor for Window A/C 1.5 TR |  |  | No | 1 |  |  | -- do -- |  |  |  |  |  |  |  |
| 5 | Compressor for Water Cooler |  |  | No | 1 |  |  | -- do -- |  |  |  |  |  |  |  |
| 6 | Gas Charging in Split/window/water cooler |  |  | Kg | 1 |  |  | As per direction of E.I.C. |  |  |  |  |  |  |  |
| 7 | Running Capacitor for Split AC |  |  | No | 1 |  |  | Apcos/ Genco/ ISI mark |  |  |  |  |  |  |  |
| 8 | PTC Relay |  |  | No | 1 |  |  | L & T/ Siemens |  |  |  |  |  |  |  |
| 9 | Contactor |  |  | No | 1 |  |  | L & T/ Siemens |  |  |  |  |  |  |  |
| 10 | Accumulator |  |  | No | 1 |  |  | As per actual installation |  |  |  |  |  |  |  |
| 11 | Overload Relay |  |  | No | 1 |  |  | L & T/ Siemens |  |  |  |  |  |  |  |
| 12 | Capilary & Filter |  |  | No. | 1 |  |  | As per actual installation |  |  |  |  |  |  |  |
| Seal & Signature of Contactor |  |  |  |  |  |  |  | Administrative Officer |  |  |  |  |  |  |  |
| ANNEXURE (A) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of work : AMC of Split/window type air conditioning units & water Coolers installed at NIPGR Campus, New delhi during the year 2013-2014 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. |  | Description |  |  |  |  | Unit |  |  | Quantity |  |  |  |  |  |
|  |  | SPLIT A.C. 1.0 TR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Dr. Subhra Chakraborty |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 2 |  | Dr. Praveen Verma |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 3 |  | Dr. Sabhyata Bhatia |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 4 |  | DNA Sequencing room CIF GF |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 5 |  | Lab 201 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 6 |  | Lab 202 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 7 |  | Lab 203 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 8 |  | Lab 204 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 9 |  | Lab 205 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 10 |  | Engineering Section |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 11 |  | Dr. Sushil Kumar (Field Office) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 12 |  | CIF Block SF (Office of PoE) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 13 |  | Visitor's room (Lab FF) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 14 |  | Visitor's room (Lab SF) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 15 |  | Lab 202 Prof. A.K. Tyagi |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 16 |  | Server Room Hostel |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 17 |  | New Sequencing Machine-454, Dr. Debasis Chattopadhyay |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 18 |  | Dark Room, First Floor |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 19 |  | Lab 202 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 19 |  |  |  |  |  |
|  |  | WINDOW A.C. 1.5 TR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | BMS Room (AC Plant) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 2 |  | DNA Sequencing room CIF GF |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 3 |  | Plant Growth Chamber (outside building) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 4 |  | Plant Growth Chamber (outside building) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 5 |  | Plant Growth Chamber (outside building) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 6 |  | Rites Office |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |
|  |  | SPLIT A.C. 1.5 TR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Telephone Exchange |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 2 |  | DNA Sequencing room CIF GF |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 3 |  | Director's Committee Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 4 |  | Guest House |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 5 |  | Guest House |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 6 |  | Guest House |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 7 |  | Guest House |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 8 |  | Guest House |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 9 |  | CIF GF (Microscope Room) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 10 |  | Proteomics Room Lab GF |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 11 |  | Growth Room of Dr. Mukesh Jain - Lab 201 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 12 |  | Growth Room of Dr. Manoj Majee - Lab 203 |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 13 |  | Growth Room of Dr. Praveen Verma- Lab 101 |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 14 |  | Growth Room of Dr. Debasis Chattopadhyay- Lab 103 |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 17 |  |  |  |  |  |
|  |  | SPLIT A.C. 2.0 TR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Lab 203 (Dr. Ashverya Laxmi) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 2 |  | Radioisotope Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 3 |  | Radioisotope Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 4 |  | Director's Residence |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 5 |  | Engineering Section |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 6 |  | Engineering Section |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 7 |  | Lab No. 101 (Dr. Sudip Chattopadhyay) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 8 |  | CIF Block FF Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 9 |  | LAB FF Cold Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 10 |  | LAB FF Cold Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 11 |  | LAB SF Cold Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 12 |  | LAB SF Cold Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 13 |  | Shaker Room (CIF III) CIF GF |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 14 |  | CIF Block SF (Office of PoE) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 15 |  | CIF Block SF (Office of PoE) |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 16 |  | Common Room, Hostel |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 17 |  | UPS Room |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 18 |  | Server Room |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 19 |  | Lab 104 Dr. Niranjan Chakraborty |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 20 |  | Growth Room of Dr. A. Laxmi |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 21 |  | Growth Room of Dr. M. Jain |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 22 |  | Growth Room of Dr. N. Chakraborty |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 23 |  | Lab 101 A |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 24 |  | Aradopsis Growth Room - GF for Dr. Alok Sinha |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 25 |  | Tissue Culture Lab for Dr. Alok Sinha |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 26 |  | Growth Room of Dr. Jitender Thakur |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
| 27 |  | Panel Room - Lab 202 |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
| 28 |  | Server Room - Lab 202 standing A/C |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 32 |  |  |  |  |  |
|  |  | CASETTE TYPE SPLIT A.C., 2.0 TR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Lab-202 , Chickpea facility |  |  |  |  | No. |  |  | 2 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |
|  |  | Water Coolers |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Ground Floor, First Floor & Second Floor Main Building |  |  |  |  | No. |  |  | 3 |  |  |  |  |  |
| 2 |  | First Floor, Second Floor & Third Floor of students hostel |  |  |  |  | No. |  |  | 3 |  |  |  |  |  |
| 3 |  | Mess Students Hostel |  |  |  |  | No. |  |  | 1 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |

Seal & Signature of Contractor						Administrative Officer

TERMS & CONDITIONS

SUB.:	A.M.C. of split / window type Air-conditioning units & water coolers installed at NIPGR Campus, New Delhi, during the year 2013 – 2014.

- The site of work is at NIPGR Campus, Aruna Asaf Ali Marg, New Delhi – 110067.

2.	The agency must visit the site before quoting the rates.

- The rates shall be inclusive of Transportation, loading, unloading & handling and nothing extra will be paid.

- The rates shall be inclusive of VAT, Service Tax, other taxes, octroi, etc., and nothing extra will be paid.

5.	No T&P will be issued by the department.

6.	The payment shall be made on quarterly basis.  No advance payment will be made.

7.	The quotation must be accompanied with E.M.D. amounting to ` 7,450.00 (` Seven thousand four hundred & fifty only) by way of Demand Draft drawn in favour of “DIRECTOR, NIPGR”, New Delhi.

8.	Quotation not accompanied with E.M.D. will not be considered.

- E.M.D. must be submitted in a separate envelope which will be opened first.

10.	A security deposit @ 10% (percent) will be deducted from each R/A bill.  The EMD will however be adjusted in the security deposit.

11.	The security deposit will be returned after two month of completion of the contract period or payment of last bill, whichever is earlier.

12.	The department is at liberty to accept or cancel any or all quotation without assigning any reason.

13.	A separate service booklet for NIPGR shall be maintained by the contractor in which all the entries in respect of A/C’s shall be made & shall be got certified by the user of the A/C / Engineer-in-charge.

14.	The inventory for the A/C’s is enclosed as per Annexure ‘A’.

15.	Necessary deductions on account of income tax etc. shall be made as per prevailing rules.

16.	The contractor is responsible for the upkeep of the installation in perfect working condition, carrying out routine checkup and to attend any breakdown immediately.

17.	The agency shall have an office established in Delhi NCR region.

18.	The agency must be expertise in the field of maintenance of split / window A.C.

19.	If any complaint remains pending due to contractor’s negligence or any other reason for which contractor is held responsible, recovery will be made as under.

a) The complaint should be attended within 24 hrs. from getting the complaint.  Major & urgent complaints should be attended on the same day.  If the contractor fails to attend the complaint, penalty @ ` 1000 per day per complaint shall be made.

b)  In case of any A.C., water cooler remains unserviceable for more than 3 days, a recovery will be made @ ` 750 per day basis.

20.	The following work comes in the scope of the AMC :-

- Attending of any number of break down calls during normal working hours.

- Any spare parts supplied by the department will be fitted free of cost (indigenous or imported).

- Any other service pertaining to the effective performance of the A/C unit.

- In case the compressor goes out of order the same shall be replaced by the new compressor by the contractor after getting the approval of E.I.C. or his authorized representative.  The decision of E.I.C in this matter shall be final & binding on contractor.

e)	The items costing more than ` 2,000.00 (` Two Thousand only) not in the list of spares shall be issued by the department free of cost for replacement. However replacement of other miscellaneous material costing not more than ` 2,000.00 shall be arranged by contractor and replaced as & when required after getting approval of the E.I.C or his authorized representative. The payment however shall be made on production of valid vouchers and justified amount as per prevailing market rates of the item shall be payable. Nothing extra on account of handling & transportation etc shall be paid. The decision of E.I.C in this matter shall be final & binding on contractor.

21.	All kind of repairs shall be carried out within 48 hours from time of complaint lodged.

22.	Shifting of A.C. unit from present location to another location is not covered under the scope of contract.

23.	Preventive maintenance checks shall be carried out weekly and record of having checked shall be maintained and in case units are not checked Pro-rata recovery shall be made from the R.A. bills.

24.	Servicing of complete unit with caustic soda shall be done during the winter season.

25.	The first service shall be provided within a week after award of work.

26.	Electricity and water will be supplied free of cost.  The material for servicing like pipe, motor, etc., shall be arranged by the contractor & nothing extra shall be paid.

27.	Any damage to any existing installations during the execution of work shall be the responsibility of the contractor and nothing extra will be paid

28.	Any accident / electrocution caused due to negligence or during the course of normal work etc., shall be responsibility of the Contractor.  The contractor shall be responsible for all compensation to the staff engaged by him.

29.	All safety precautions shall be taken so as to avoid any accident or inconvenience to the members of staff.

30.	The work shall be carried out to the satisfaction of the Engineer-In-Charge.

31.	Following checks shall be carried out during the servicing / monthly check:

(a)	Check for refrigerant leaks and proper refrigerant levels on the high and low pressure sides.  Repair all leaks.

(b)	Check condenser coil and clean if needed.  Keep debris away from unit.

(c)	Straighten any bent heat exchanger fins on condenser coil.

(d)	Check suction pipe insulation and replace if needed.

(e)	Lubricate fan motors and bearings.  Replace worn bearings.

(f)	Check fan blades for damage and clean if needed.

(g)	Check all wiring, electrical connections, contactors, capacitors, relays, etc., for wear, cleanliness and proper operation.

(h)	Visually inspect compressor and check amp draw.

(i)	Check condensate drain and pan then advise of any discrepancies.

(j)	Check expansion valve & coil temperatures, lubricate parts as needed.

(k)	Check evaporator coil and advise if dirty or if it needs cleaning.

(l)	Check the shape that the total system is in and advise client / customer of discrepancies.

32.	PAN/TIN issued by the respective departments must be mentioned while quoting the rates.

PAN No.: ____________________

TIN No.: _____________________

Administrative Officer

NIPGR

Seal & Signature of Contractor