## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | INR and Other Currency
Tender Inviting Authority: Purchase cum Stores Officer, NIPGR, New Delhi
Name of Work: On demand service of High and Low Tension Switchgears at NIPGR Campus, New Delhi for the year 2021-22.
Contract No: NIPGR/Engg./6/7/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Air Circuit Breakers & Capacitor Banks
1 | ACB 800 A – 1600 A EDO L&T Make | 7 | Each | 0 | 0 | 0 | 0 | 0
2 | ACB 2000 A – 2500 A EDO L&T Make | 7 | Each | 0 | 0 | 0 | 0 | 0
3 | ACB 800A-1600A EDO ABB make | 1 | Each | 0 | 0 | 0 | 0 | 0
4 | ACB 2000 A – 2500 A EDO ABB Make | 3 | Each | 0 | 0 | 0 | 0 | 0
5 | ACB 800 A – 1600 A EDO L&T Make | 5 | Each | 0 | 0 | 0 | 0 | 0
6 | Capacitor Bank L&T Make | 1000 | Per KVAR | 0 | 0 | 0 | 0 | 0
7 | Capacitor Bank Neptune Make | 550 | Per KVAR | 0 | 0 | 0 | 0 | 0
8 | Capacitor Bank | 500 | Per KVAR | 0 | 0 | 0 | 0 | 0
Servo Voltage Stabilizers (Selvon Make)
9 | Service of 400 KVA capacity Servo Motor Operated line Voltage corrector, 3 Phase, 50 Hz for unbalanced supply and load. | 4 | Each | 0 | 0 | 0 | 0 | 0
10 | Dehydration of oil of Voltage Stabilizers installed at different level of building. | 4000 | Ltr. | 0 | 0 | 0 | 0 | 0
Vacuum Circuit Breakers
11 | 11 KV VCB 800 Amp. – ABB make | 5 | Each | 0 | 0 | 0 | 0 | 0
12 | 11 KV VCB 400 Amp. – CGL make | 3 | Each | 0 | 0 | 0 | 0 | 0
Transformers
13 | 1500 KVA Transformer with complete system (OLTC)-VOLTAMP Make | 2 | Each | 0 | 0 | 0 | 0 | 0
14 | 750 KVA Transformer with complete system (OLTC)-VOLTAMP Make | 2 | Each | 0 | 0 | 0 | 0 | 0
15 | Dehydration of transformers oil | 6650 | Per Ltr. | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Purchase cum Stores Officer |  |  |  | Seal & Signature of Contractor