## Sheet1
Item Wise BoQ
BoQ_Ver3.1 | Item Wise |  | INR and Other Currency
Tender Inviting Authority: Consultant Engineer, NIPGR, New Delhi
Name of Work: Supply, Installation, Testing & Commissioning of Actuator valves motors complete set for AHU's installed for various locations of labs of Main Building and New Lab Block at NIPGR Campus, New Delhi.
Contract No: NIPGR/Engg./5/6(1)/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | NUMBER # | TEXT # | NUMBER # | NUMBER | NUMBER # | NUMBER # | NUMBER #
Sl. No. | Item Description | Quantity | Units | UNIT RATE In Figures To be entered by the Bidder in Rs. P | GST in Rs. P (Col. 5 x % of GST) | Total Unit Rate with GST (Col. 5+6) | TOTAL AMOUNT Without Taxes in Rs. P (Col. 3 x 5) | TOTAL AMOUNT With Taxes in Rs. P (Col. 3 x 7)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | Dismantling of Existing valves, MS Pipes along with accessories associated etc connecting the actuator valves to be replaced installed in the AHU's of the labs | 1 | Lot | 0 | 0 | 0 | 0 | 0
2 | Supply, Installation, Testing & commissioning of actuator valves complete set comprising of three way valve / two way valve along with actuator, work out MS Pipe, fittings , associated valves and accessories along with insulation of the pipe and valves as per existing installations. NO Change in specifications/ installation as per existing system shall be accepted.
a | Anergy 3 way valves with actuator motor, pipe , fittings and accessories - actuator Model - ARM05FV and compatible 3 way valve | 8 | Nos | 0 | 0 | 0 | 0 | 0
b | Seimens 2 / 3 way valves with actuator motor, pipe , fittings and accessories
(i) | SQS 65 | 8 | Nos | 0 | 0 | 0 | 0 | 0
(ii) | SQX 62 / SAS61.03 | 2 | Nos | 0 | 0 | 0 | 0 | 0
(iii) | SQS 35 | 6 | Nos | 0 | 0 | 0 | 0 | 0
Total in figures | [6 empty] | 0 | 0
Quoted Rate in Words
| Consultant Engineer |  |  |  | Seal & Signature of Contractor